{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["分部分项工程量清单","措施项目清单(一)","措施项目清单(二)","其他项目清单","零星工作项目表","规费和税金清单"],"not_rendered":{"external_links":1,"defined_names":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"分部分项工程量清单","index":0,"n_rows":78,"n_cols":6,"rows_kept":78,"merged":[[0,0,1,5],[2,0,2,5],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[77,0,77,5]],"flags":["formulas_cached_only"]}
["分部分项工程量清单"]
[]
["工程名称:安徽省亳州市利辛县农村商业银行办公楼室内改造项目安装"]
["序号","项目编码","项  目  名  称","项目特征及工作内容","计量单位","工程数量"]
[]
["1","030204018001","配电箱","名称:配电箱ZAL\r\n规格、型号:11回路","台",{"v":1,"d":"1.000"}]
["2","030204018002","配电箱","名称:配电箱 AL1\r\n规格、型号:7回路","台",{"v":1,"d":"1.000"}]
["3","030204018003","配电箱","名称:配电箱 AL2\r\n规格、型号:14回路","台",{"v":1,"d":"1.000"}]
["4","030204018004","配电箱","名称:配电箱 AL3\r\n规格、型号:11回路","台",{"v":1,"d":"1.000"}]
["5","030204018005","配电箱","名称:配电箱 AL4\r\n规格、型号:6回路","台",{"v":1,"d":"1.000"}]
["6","030204018006","配电箱","名称:配电箱 AL5\r\n规格、型号:13回路","台",{"v":1,"d":"1.000"}]
["7","030204018007","配电箱","名称:配电箱 M1\r\n型号、规格:12回路","台",{"v":1,"d":"1.000"}]
["8","030204018008","配电箱","名称:配电箱 M2\r\n型号、规格:12回路","台",{"v":1,"d":"1.000"}]
["9","030204018009","配电箱","名称:配电箱M3\r\n型号、规格:6回路","台",{"v":33,"d":"33.000"}]
["10","030204018010","配电箱","名称:配电箱 M4\r\n型号、规格:12回路","台",{"v":1,"d":"1.000"}]
["11","030213003001","装饰灯","名称:疏散指示灯\r\n型号、规格:1*3W LED","套",{"v":20,"d":"20.000"}]
["12","030213003002","装饰灯","名称:双头应急灯\r\n型号、规格:2*3W LED","套",{"v":18,"d":"18.000"}]
["13","030213003003","装饰灯","名称: 安全出口标志灯\r\n型号、规格:1*3W LED","套",{"v":3,"d":"3.000"}]
["14","030204031001","小电器","名称:安全型双联单相二极.三极插座\r\n规格:250V,10A","套",{"v":202,"d":"202.000"}]
["15","030204031002","小电器","名称:安全型双联单相二极.三极插座\r\n规格:250V,10A","套",{"v":3,"d":"3.000"}]
["16","030204031003","小电器","名称:安全型双联单相二极.三极金属地面插座\r\n规格:250V,10A","套",{"v":11,"d":"11.000"}]
["17","030204031004","小电器","名称:带指示灯宽板单极双控开关\r\n规格:250V,10A","套",{"v":10,"d":"10.000"}]
["18","030204031005","小电器","名称:带指示灯宽板二极单控开关\r\n规格:250V,10A","套",{"v":10,"d":"10.000"}]
["19","030204031006","小电器","名称:带指示灯宽板三极单控开关\r\n规格:250V,10A","套",{"v":26,"d":"26.000"}]
["20","030204031007","小电器","名称:带指示灯宽板二极单控开关\r\n规格:250V,10A","套",{"v":26,"d":"26.000"}]
["21","030204031008","小电器","名称:带指示灯宽板单极单控开关\r\n规格:250V,10A","套",{"v":14,"d":"14.000"}]
["22","030213003004","装饰灯","名称:射灯\r\n型号、规格:1*50W","套",{"v":32,"d":"32.000"}]
["23","030213003005","装饰灯","名称:深筒筒灯（三基色日光色）\r\n型号、规格:1*13W","套",{"v":125,"d":"125.000"}]
["24","030213001001","吸顶灯","名称:吸顶灯(三基色日光色)\r\n安装方式:吸顶","套",{"v":72,"d":"72.000"}]
["25","030213003006","装饰灯","名称:单头斗胆灯\r\n安装方式:吸顶","套",{"v":40,"d":"40.000"}]
["26","030213001002","吸顶灯","名称:吸顶灯\r\n安装方式:吸顶","套",{"v":14,"d":"14.000"}]
["27","030204031009","小电器","名称:排风扇\r\n规格:1*28W 300mm*300mm","台",{"v":7,"d":"7.000"}]
["28","030213004001","荧光灯","名称:隔栅灯(三基色日光色)\r\n规格、型号:200*300mm\r\n安装形式: 吸顶安装","套",{"v":84,"d":"84.000"}]
["29","030213003007","装饰灯","名称:灯带","m",{"v":26.4,"d":"26.400"}]
["30","030213004002","吸顶灯盘（LED）","名称:吸顶灯盘（LED）\r\n规格、型号:300mm*1200mm\r\n安装形式: 吸顶安装","套",{"v":34,"d":"34.000"}]
["31","030212001001","电气配管","名称:电气配管\r\n材质、规格:SC100\r\n配置形式及部位:暗配","m",{"v":21.2,"d":"21.200"}]
["32","030212001002","电气配管","名称:电气配管\r\n材质、规格: SC50\r\n配置形式及部位:暗配","m",{"v":104.3,"d":"104.300"}]
["33","030212001003","电气配管","名称:电气配管\r\n材质、规格:KBG20\r\n配置形式及部位:暗配","m",{"v":3457.76,"d":"3457.760"}]
["34","030212001004","电气配管","名称:电气配管\r\n材质、规格: SC32\r\n配置形式及部位:暗配","m",{"v":7.6,"d":"7.600"}]
["35","030212001005","电气配管","名称:电气配管\r\n材质、规格: SC25\r\n配置形式及部位:暗配","m",{"v":60.4,"d":"60.400"}]
["36","030208001001","电力电缆","型号、规格:YJV-4*25+1*16\r\n敷设方式:穿管敷设","m",{"v":45.9,"d":"45.900"}]
["37","030208001002","电力电缆","型号、规格:YJV-5*16\r\n敷设方式:穿管敷设","m",{"v":58.4,"d":"58.400"}]
["38","030208001003","电力电缆","型号、规格:YJV-5*6\r\n敷设方式:穿管敷设","m",{"v":7.6,"d":"7.600"}]
["39","030208001004","电力电缆","型号、规格:YJV-5*4\r\n敷设方式:穿管敷设","m",{"v":60.4,"d":"60.400"}]
["40","030212003001","电气配线","配线形式:管内穿线\r\n导线型号、材质、规格: BV-4","m",{"v":1685.4,"d":"1685.400"}]
["41","030212003002","电气配线","配线形式:管内穿线\r\n导线型号、材质、规格: BV-2.5","m",{"v":8306.48,"d":"8306.480"}]
["42","030212003003","电气配线","配线形式:管内穿线\r\n导线型号、材质、规格: NH-BV-2.5","m",{"v":741.3,"d":"741.300"}]
{"$rows_empty":30}
["【一点智慧清单先锋 V8.0.27】"]

{"sheet":"措施项目清单(一)","index":1,"n_rows":44,"n_cols":2,"rows_kept":44,"merged":[[0,0,1,1],[2,0,2,1],[3,0,4,0],[3,1,4,1],[43,0,43,1]],"flags":["formulas_cached_only"]}
["措施项目清单"]
[]
["工程名称:安徽省亳州市利辛县农村商业银行办公楼室内改造项目安装        第&P页共&S页"]
["序号","项  目  名  称"]
[]
["1","(安装)安全文明施工费 "]
{"$rows_empty":37}
["【一点智慧清单先锋 V8.0.27】"]

{"sheet":"措施项目清单(二)","index":2,"n_rows":44,"n_cols":5,"rows_kept":44,"merged":[[0,0,1,4],[2,0,2,4],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[43,0,43,4]],"flags":["formulas_cached_only"]}
["措施项目清单（二）"]
[]
["工程名称:安徽省亳州市利辛县农村商业银行办公楼室内改造项目安装        第&P页共&S页"]
["序号","项  目  名  称","项 目 特 征 及 工 作 内 容","计量单位","工程数量"]
[]
["1","安装脚手架",null,"项",{"v":1,"d":"1.000"}]
{"$rows_empty":37}
["【一点智慧清单先锋 V8.0.27】"]

{"sheet":"其他项目清单","index":3,"n_rows":43,"n_cols":3,"rows_kept":43,"merged":[[0,0,1,2],[2,0,2,2],[3,0,4,0],[3,1,4,1],[3,2,4,2],[42,0,42,2]],"flags":["formulas_cached_only"]}
["其他项目清单"]
[]
["工程名称:安徽省亳州市利辛县农村商业银行办公楼室内改造项目安装        第&P页共&S页"]
["序号","项   目   名   称","金额（元）"]
[]
["1","招标人部分",0]
[null,"   预留金",0]
[null,"   材料购置费",0]
["2","投标人部分",0]
[null,"   总承包服务费",0]
[null,"   零星工作项目费",0]
{"$rows_empty":31}
["【一点智慧清单先锋 V8.0.27】"]

{"sheet":"零星工作项目表","index":4,"n_rows":43,"n_cols":4,"rows_kept":43,"merged":[[0,0,1,3],[2,0,2,3],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[42,0,42,3]],"flags":["formulas_cached_only"]}
["零星工作项目表"]
[]
["工程名称:安徽省亳州市利辛县农村商业银行办公楼室内改造项目安装        第&P页共&S页"]
["序号","名      称","计量单位","数量"]
[]
["1","人工",null,0]
["1.1",null,null,0]
["1.2",null,null,0]
["2","材料",null,0]
["2.1",null,null,0]
["2.2",null,null,0]
["3","机械",null,0]
["3.1",null,null,0]
["3.2",null,null,0]
{"$rows_empty":28}
["【一点智慧清单先锋 V8.0.27】"]

{"sheet":"规费和税金清单","index":5,"n_rows":43,"n_cols":2,"rows_kept":43,"merged":[[0,0,1,1],[2,0,2,1],[3,0,4,0],[3,1,4,1],[42,0,42,1]],"flags":["formulas_cached_only"]}
["规费和税金清单"]
[]
["工程名称:安徽省亳州市利辛县农村商业银行办公楼室内改造项目安装        第&P页共&S页"]
["序号","项  目  名  称"]
[]
["1","工程排污费"]
["2","社会保障费"]
["(1)","养老保险费"]
["(2)","失业保险费"]
["(3)","医疗保险费"]
["3","住房公积金"]
["4","危险作业意外伤害保险"]
["5","税金"]
{"$rows_empty":29}
["【一点智慧清单先锋 V8.0.27】"]