{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["1.1 A.1 招标工程量清单封面","1.2 B.1 招标工程量清单扉页","3.1 Fbfx_17ah_zb-E.1 分部分项工程量清单计","3.2 Csxm_17ah_zb-附录F 措施项目清单计价表","3.3 Bkjz_17ah_zb-附录G 不可竞争项目清单与计","3.4 Qtxm_17ah_zb-H.1 其他项目清单与计价汇","3.5 Sj_17ah_zb-附录I 税金计价表"],"not_rendered":{"external_links":1,"defined_names":7},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 A.1 招标工程量清单封面","index":0,"n_rows":19,"n_cols":9,"rows_kept":19,"merged":[[2,2,2,8],[4,1,5,7],[4,8,5,9],[8,0,8,10],[10,3,10,4],[10,5,10,6],[11,5,11,6],[14,3,14,4],[14,5,14,6],[15,5,15,6],[18,4,18,5]],"flags":["formulas_cached_only"]}
[]
[]
[null,null,"A.1 招标工程量清单封面"]
[]
[null,"阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":6},"工程"]
[]
[]
[]
["招标工程量清单"]
[]
[{"$nulls":3},"招  标  人："]
[{"$nulls":5},"（单位盖章）"]
[]
[]
[{"$nulls":3},"造价咨询人："]
[{"$nulls":5},"（单位盖章）"]
[]
[]
[{"$nulls":4},"2019年07月10日"]

{"sheet":"1.2 B.1 招标工程量清单扉页","index":1,"n_rows":18,"n_cols":9,"rows_kept":18,"merged":[[1,4,1,8],[3,2,3,7],[3,8,3,9],[5,0,5,11],[7,1,7,2],[7,3,7,4],[7,7,7,10],[8,3,8,4],[8,7,8,10],[10,1,11,2],[10,3,11,4],[10,6,11,6],[11,7,11,10],[12,3,12,4],[12,7,12,10],[14,1,14,2],[14,3,14,4],[14,7,14,10],[15,3,15,4],[15,7,15,10],[17,1,17,2],[17,3,17,4],[17,7,17,10]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":4},"B.1 招标工程量清单扉页"]
[]
[null,null,"阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":5},"工程"]
[]
["招标工程量清单"]
[]
[null,"招  标  人：",{"$nulls":4},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":4},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[null,"编  制  人：",{"$nulls":4},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",{"$nulls":3},"（造价工程师签字盖专用章）"]
[]
[null,"编 制 时 间：",null,"2019年07月10日",null,null,"复 核 时 间：","2019年07月10日"]

{"sheet":"3.1 Fbfx_17ah_zb-E.1 分部分项工程量清单计","index":2,"n_rows":101,"n_cols":14,"rows_kept":101,"merged":[[0,0,0,13],[1,0,1,7],[1,8,1,9],[1,10,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,13],[3,7,4,8],[3,9,4,10],[3,11,3,13],[5,2,5,4],[5,7,5,8],[5,9,5,10],[6,0,7,0],[6,1,7,1],[6,2,7,2],[6,3,7,4],[6,5,7,5],[6,6,7,6],[6,7,7,8],[6,9,7,10],[6,11,7,11],[6,12,7,12],[6,13,7,13],[8,0,9,0],[8,1,9,1],[8,2,9,2],[8,3,9,4],[8,5,9,5],[8,6,9,6],[8,7,9,8],[8,9,9,10],[8,11,9,11],[8,12,9,12],[8,13,9,13],[10,3,10,4],[10,7,10,8],[10,9,10,10],[11,3,11,4],[11,7,11,8],[11,9,11,10],[12,0,13,0],[12,1,13,1],[12,2,13,2],[12,3,13,4],[12,5,13,5],[12,6,13,6],[12,7,13,8],[12,9,13,10],[12,11,13,11],[12,12,13,12],[12,13,13,13],[14,3,14,4],[14,7,14,8],[14,9,14,10],[15,3,15,4],[15,7,15,8],[15,9,15,10],[16,0,17,0],[16,1,17,1],[16,2,17,2],[16,3,17,4],[16,5,17,5],[16,6,17,6],[16,7,17,8],[16,9,17,10],[16,11,17,11],[16,12,17,12],[16,13,17,13],[18,3,18,4],[18,7,18,8],[18,9,18,10],[19,0,19,13],[20,0,20,13],[21,0,21,7],[21,8,21,9],[21,10,21,13],[22,0,24,0],[22,1,24,1],[22,2,24,2],[22,3,24,4],[22,5,24,5],[22,6,24,6],[22,7,22,13],[23,7,24,8],[23,9,24,10],[23,11,23,13],[25,3,25,4],[25,7,25,8],[25,9,25,10],[26,3,26,4],[26,7,26,8],[26,9,26,10],[27,3,27,4],[27,7,27,8],[27,9,27,10],[28,0,29,0],[28,1,29,1],[28,2,29,2],[28,3,29,4],[28,5,29,5],[28,6,29,6],[28,7,29,8],[28,9,29,10],[28,11,29,11],[28,12,29,12],[28,13,29,13],[30,0,31,0],[30,1,31,1],[30,2,31,2],[30,3,31,4],[30,5,31,5],[30,6,31,6],[30,7,31,8],[30,9,31,10],[30,11,31,11],[30,12,31,12],[30,13,31,13],[32,3,32,4],[32,7,32,8],[32,9,32,10],[33,3,33,4],[33,7,33,8],[33,9,33,10],[34,3,34,4],[34,7,34,8],[34,9,34,10],[35,3,35,4],[35,7,35,8],[35,9,35,10],[36,3,36,4],[36,7,36,8],[36,9,36,10],[37,3,37,4],[37,7,37,8],[37,9,37,10],[38,3,38,4],[38,7,38,8],[38,9,38,10],[39,3,39,4],[39,7,39,8],[39,9,39,10],[40,3,40,4],[40,7,40,8],[40,9,40,10],[41,0,41,13],[43,4,43,13],[44,0,44,13],[45,0,45,7],[45,8,45,9],[45,10,45,13],[46,0,48,0],[46,1,48,1],[46,2,48,2],[46,3,48,4],[46,5,48,5],[46,6,48,6],[46,7,46,13],[47,7,48,8],[47,9,48,10],[47,11,47,13],[49,3,49,4],[49,7,49,8],[49,9,49,10],[50,2,50,4],[50,7,50,8],[50,9,50,10],[51,2,51,4],[51,7,51,8],[51,9,51,10],[52,0,53,0],[52,1,53,1],[52,2,53,2],[52,3,53,4],[52,5,53,5],[52,6,53,6],[52,7,53,8],[52,9,53,10],[52,11,53,11],[52,12,53,12],[52,13,53,13],[54,0,55,0],[54,1,55,1],[54,2,55,2],[54,3,55,4],[54,5,55,5],[54,6,55,6],[54,7,55,8],[54,9,55,10],[54,11,55,11],[54,12,55,12],[54,13,55,13],[56,3,56,4],[56,7,56,8],[56,9,56,10],[57,3,57,4],[57,7,57,8],[57,9,57,10],[58,0,59,0],[58,1,59,1],[58,2,59,2],[58,3,59,4],[58,5,59,5],[58,6,59,6],[58,7,59,8],[58,9,59,10],[58,11,59,11],[58,12,59,12],[58,13,59,13],[60,3,60,4],[60,7,60,8],[60,9,60,10],[61,3,61,4],[61,7,61,8],[61,9,61,10],[62,3,62,4],[62,7,62,8],[62,9,62,10],[63,3,63,4],[63,7,63,8],[63,9,63,10],[64,0,64,13],[65,0,65,13],[66,0,66,7],[66,8,66,9],[66,10,66,13],[67,0,69,0],[67,1,69,1],[67,2,69,2],[67,3,69,4],[67,5,69,5],[67,6,69,6],[67,7,67,13],[68,7,69,8],[68,9,69,10],[68,11,68,13],[70,3,70,4],[70,7,70,8],[70,9,70,10],[71,3,71,4],[71,7,71,8],[71,9,71,10],[72,3,72,4],[72,7,72,8],[72,9,72,10],[73,3,73,4],[73,7,73,8],[73,9,73,10],[74,3,74,4],[74,7,74,8],[74,9,74,10],[75,2,75,4],[75,7,75,8],[75,9,75,10],[76,3,76,4],[76,7,76,8],[76,9,76,10],[77,3,77,4],[77,7,77,8],[77,9,77,10],[78,3,78,4],[78,7,78,8],[78,9,78,10],[79,3,79,4],[79,7,79,8],[79,9,79,10],[80,3,80,4],[80,7,80,8],[80,9,80,10],[81,3,81,4],[81,7,81,8],[81,9,81,10],[82,3,82,4],[82,7,82,8],[82,9,82,10],[83,3,83,4],[83,7,83,8],[83,9,83,10],[84,3,84,4],[84,7,84,8],[84,9,84,10],[85,3,85,4],[85,7,85,8],[85,9,85,10],[86,3,86,4],[86,7,86,8],[86,9,86,10],[87,3,87,4],[87,7,87,8],[87,9,87,10],[88,3,88,4],[88,7,88,8],[88,9,88,10],[89,3,89,4],[89,7,89,8],[89,9,89,10],[90,3,90,4],[90,7,90,8],[90,9,90,10],[91,3,91,4],[91,7,91,8],[91,9,91,10],[92,3,92,4],[92,7,92,8],[92,9,92,10],[93,3,93,4],[93,7,93,8],[93,9,93,10],[94,3,94,4],[94,7,94,8],[94,9,94,10],[95,3,95,4],[95,7,95,8],[95,9,95,10],[96,3,96,4],[96,7,96,8],[96,9,96,10],[97,3,97,4],[97,7,97,8],[97,9,97,10],[98,3,98,4],[98,7,98,8],[98,9,98,10],[99,0,99,13],[100,4,100,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":7},"标段：",null,"第1页 共4页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"合价",null,"其中"]
[{"$nulls":11},"定额\n人工费","定额\n机械费","暂估价"]
[null,"0301","教学楼、宿舍楼线路",{"$nulls":3},""]
["1","030408001001","电力电缆","1、名称：铝芯电力电缆\n2、型号：YJV22-3*150+1*95\n3、敷设方式、部位：主宿舍楼导线\n4、安装施工所用器材、材料赢符合现行技术标准规定，应有产品合格证",null,"m","50.000"]
[]
["2","030408001002","电力电缆","1、名称：铝芯电力电缆\n2、型号：YJV22-3*120+1*70\n3、敷设方式、部位：主宿舍楼导线\n4、安装施工所用器材、材料赢符合现行技术标准规定，应有产品合格证",null,"m","70.000"]
[]
["3","030408006004","电力电缆头","1、名称：电缆终端头\n2、型号：120mm2",null,"个","4.000"]
["4","030408006002","电力电缆头","1、名称：电缆终端头\n2、型号：150mm2",null,"个","2.000"]
["5","030410003001","导线架设","1、名称：铝绝缘导线\n2、型号：JKLYJ-1*150\n3、安装施工所用器材、材料赢符合现行技术标准规定，应有产品合格证",null,"km/单线","0.600"]
[]
["6","030410002001","横担组装","1、名称：三相四线拐铁",null,"组","20.000"]
["7","WB030410006001","绝缘子安装","1、名称：绝缘子",null,"只","80.000"]
["8","030410003002","并沟线夹","1、名称：并沟线夹（铜铝）\n2、安装施工所用器材、材料赢符合现行技术标准规定，应有产品合格证",null,"个","45.000"]
[]
["9","WB030413009001","开挖路面","1、名称：破除水泥路面",null,"m2","10.000"]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":7},"标段：",null,"第2页 共4页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"合价",null,"其中"]
[{"$nulls":11},"定额\n人工费","定额\n机械费","暂估价"]
["10","WB030413010001","修复路面","1、名称：修复水泥路面",null,"m2","10.000"]
["11","010101003001","挖沟槽土方","1、挖管道沟土方",null,"m3","14.400"]
["12","010103001001","回填方","1、管道沟土方回填",null,"m3","12.960"]
["13","030408003002","电缆保护管","1、名称：引上钢管\n2、材质：镀锌钢管\n3、规格：DN80\n4、敷设方式：沿墙敷设",null,"m(根）","3.000"]
[]
["14","030408003001","电缆保护管","1、名称：电缆保护管\n2、材质：镀锌钢管\n3、规格：DN100\n4、敷设方式：过路埋地敷设",null,"m(根）","50.000"]
[]
["15","030408003003","电缆保护管","1、名称：电缆保护管\n2、材质：PVC\n3、规格：DN100\n4、敷设方式：埋地敷设",null,"m(根）","100.000"]
["16","030404017001","配电箱","1、名称：电表箱",null,null,"148.000"]
["17","WB030503003001","带IC智能表","1、名称：智能电表\n2、技术参数：内含空调专用漏电保护、接地极回总盘",null,"个","148.000"]
["18","030404035001","插座","1、名称：三孔空调插座",null,"个","148.000"]
["19","030411001001","配管","1、名称：电线保护管\n2、材质：PVC\n3、规格：DN40",null,"m","240.500"]
["20","030411004001","配线","1、名称：铜芯塑料线\n2、型号：BV-4mm2",null,"m","1850.000"]
["21","030411004002","配线","1、名称：铜芯塑料线\n2、型号：BV-6mm2",null,"m","277.500"]
["22","030411004003","配线","1、名称：铜芯塑料线\n2、型号：BV-10mm2",null,"m","462.500"]
[]
[]
[]
[{"$nulls":4},"测评合格编号:2018JS-03【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":7},"标段：",null,"第3页 共4页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"合价",null,"其中"]
[{"$nulls":11},"定额\n人工费","定额\n机械费","暂估价"]
["23","030411004004","配线","1、名称：铜芯塑料线\n2、型号：BV-16mm2",null,"m","92.500"]
[null,null,"分部小计",{"$nulls":3},""]
[null,"0301","至小木楼线路",{"$nulls":3},""]
["24","030408001003","电力电缆","1、名称：铝芯电力电缆\n2、型号：YJV22-3*50+1*35\n3、敷设方式、部位：主宿舍楼导线\n4、安装施工所用器材、材料赢符合现行技术标准规定，应有产品合格证",null,"m","60.000"]
[]
["25","030408001004","电力电缆","1、名称：铝芯电力电缆\n2、型号：YJV22-3*25+1*16\n3、敷设方式、部位：主宿舍楼导线\n4、安装施工所用器材、材料赢符合现行技术标准规定，应有产品合格证",null,"m","60.000"]
[]
["26","030408006001","电力电缆头","1、名称：电缆终端头\n2、型号：35mm2",null,"个","2.000"]
["27","030408006003","电力电缆头","1、名称：电缆终端头\n2、型号：50mm2",null,"个","2.000"]
["28","030408003004","电缆保护管","1、名称：引上钢管\n2、材质：镀锌钢管\n3、规格：DN80\n4、敷设方式：沿墙敷设",null,"m(根）","2.000"]
[]
["29","030404017002","配电箱","1、名称：电表箱",null,null,"12.000"]
["30","WB030503003002","带IC智能表","1、名称：智能电表\n2、技术参数：内含空调专用漏电保护、接地极回总盘",null,"个","12.000"]
["31","030404035002","插座","1、名称：三孔空调插座",null,"个","12.000"]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":7},"标段：",null,"第4页 共4页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"合价",null,"其中"]
[{"$nulls":11},"定额\n人工费","定额\n机械费","暂估价"]
["32","030411001002","配管","1、名称：电线保护管\n2、材质：PVC\n3、规格：DN40",null,"m","19.500"]
["33","030411004005","配线","1、名称：铜芯塑料线\n2、型号：BV-4mm2",null,"m","150.000"]
["34","030411004006","配线","1、名称：铜芯塑料线\n2、型号：BV-6mm2",null,"m","22.500"]
["35","030411004007","配线","1、名称：铜芯塑料线\n2、型号：BV-10mm2",null,"m","37.500"]
["36","030411004008","配线","1、名称：铜芯塑料线\n2、型号：BV-16mm2",null,"m","7.500"]
[null,null,"分部小计",{"$nulls":3},""]
{"$rows_empty":24}
[{"$nulls":4},"测评合格编号:2018JS-03【新点造价软件V10.0安徽版】"]

{"sheet":"3.2 Csxm_17ah_zb-附录F 措施项目清单计价表","index":3,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,2,2,3],[2,4,2,5],[2,6,2,7],[3,2,3,3],[3,4,3,5],[3,6,3,7],[4,2,4,3],[4,4,4,5],[4,6,4,7],[5,2,5,3],[5,4,5,5],[5,6,5,7],[6,2,6,3],[6,4,6,5],[6,6,6,7],[7,2,7,3],[7,4,7,5],[7,6,7,7],[8,2,8,3],[8,4,8,5],[8,6,8,7],[9,2,9,3],[9,4,9,5],[9,6,9,7],[10,2,10,3],[10,4,10,5],[10,6,10,7],[11,2,11,3],[11,4,11,5],[11,6,11,7],[12,2,12,3],[12,4,12,5],[12,6,12,7],[13,2,13,3],[13,4,13,5],[13,6,13,7],[14,2,14,3],[14,4,14,5],[14,6,14,7],[15,2,15,3],[15,4,15,5],[15,6,15,7],[16,2,16,3],[16,4,16,5],[16,6,16,7],[17,2,17,3],[17,4,17,5],[17,6,17,7],[18,2,18,3],[18,4,18,5],[18,6,18,7],[19,2,19,3],[19,4,19,5],[19,6,19,7],[20,2,20,3],[20,4,20,5],[20,6,20,7],[21,2,21,3],[21,4,21,5],[21,6,21,7],[22,2,22,3],[22,4,22,5],[22,6,22,7],[23,2,23,3],[23,4,23,5],[23,6,23,7],[24,2,24,3],[24,4,24,5],[24,6,24,7],[25,2,25,3],[25,4,25,5],[25,6,25,7],[26,2,26,3],[26,4,26,5],[26,6,26,7],[27,2,27,3],[27,4,27,5],[27,6,27,7],[28,2,28,3],[28,4,28,5],[28,6,28,7],[29,2,29,3],[29,4,29,5],[29,6,29,7],[30,2,30,3],[30,4,30,5],[30,6,30,7],[31,2,31,3],[31,4,31,5],[31,6,31,7],[32,2,32,3],[32,4,32,5],[32,6,32,7],[33,2,33,3],[33,4,33,5],[33,6,33,7],[34,2,34,3],[34,4,34,5],[34,6,34,7],[35,2,35,3],[35,4,35,5],[35,6,35,7],[36,2,36,3],[36,4,36,5],[36,6,36,7],[37,2,37,3],[37,4,37,5],[37,6,37,7],[38,2,38,3],[38,4,38,5],[38,6,38,7],[39,2,39,3],[39,4,39,5],[39,6,39,7],[40,2,40,3],[40,4,40,5],[40,6,40,7],[41,0,41,7],[43,3,43,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":4},"标段：",null,"第1页 共1页"]
["序号","项目编码","项目名称",null,"计算基础",null,"费率（%）",null,"金额（元）"]
["1","AC-01","夜间施工增加费",{"$nulls":3},"0.500"]
["2","AC-02","二次搬运费",{"$nulls":3},"1.000"]
["3","AC-03","冬雨季施工增加费",{"$nulls":3},"0.700"]
["4","AC-04","已完工程及设备保护费",{"$nulls":3},"0.300"]
["5","AC-05","工程定位复测费",{"$nulls":3},"0.600"]
["6","AC-06","非夜间施工照明费",{"$nulls":3},"0.600"]
["7","AC-07","临时保护设施费",{"$nulls":3},"0.100"]
{"$rows_empty":31}
["合   计",{"$nulls":7},""]
[]
[{"$nulls":3},"测评合格编号:2018JS-03【新点造价软件V10.0安徽版】"]

{"sheet":"3.3 Bkjz_17ah_zb-附录G 不可竞争项目清单与计","index":4,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,2,2,3],[2,4,2,5],[2,6,2,7],[3,2,3,3],[3,4,3,5],[3,6,3,7],[4,2,4,3],[4,4,4,5],[4,6,4,7],[5,2,5,3],[5,4,5,5],[5,6,5,7],[6,2,6,3],[6,4,6,5],[6,6,6,7],[7,2,7,3],[7,4,7,5],[7,6,7,7],[8,2,8,3],[8,4,8,5],[8,6,8,7],[9,2,9,3],[9,4,9,5],[9,6,9,7],[10,2,10,3],[10,4,10,5],[10,6,10,7],[11,2,11,3],[11,4,11,5],[11,6,11,7],[12,2,12,3],[12,4,12,5],[12,6,12,7],[13,2,13,3],[13,4,13,5],[13,6,13,7],[14,2,14,3],[14,4,14,5],[14,6,14,7],[15,2,15,3],[15,4,15,5],[15,6,15,7],[16,2,16,3],[16,4,16,5],[16,6,16,7],[17,2,17,3],[17,4,17,5],[17,6,17,7],[18,2,18,3],[18,4,18,5],[18,6,18,7],[19,2,19,3],[19,4,19,5],[19,6,19,7],[20,2,20,3],[20,4,20,5],[20,6,20,7],[21,2,21,3],[21,4,21,5],[21,6,21,7],[22,2,22,3],[22,4,22,5],[22,6,22,7],[23,2,23,3],[23,4,23,5],[23,6,23,7],[24,2,24,3],[24,4,24,5],[24,6,24,7],[25,2,25,3],[25,4,25,5],[25,6,25,7],[26,2,26,3],[26,4,26,5],[26,6,26,7],[27,2,27,3],[27,4,27,5],[27,6,27,7],[28,2,28,3],[28,4,28,5],[28,6,28,7],[29,2,29,3],[29,4,29,5],[29,6,29,7],[30,2,30,3],[30,4,30,5],[30,6,30,7],[31,2,31,3],[31,4,31,5],[31,6,31,7],[32,2,32,3],[32,4,32,5],[32,6,32,7],[33,2,33,3],[33,4,33,5],[33,6,33,7],[34,2,34,3],[34,4,34,5],[34,6,34,7],[35,2,35,3],[35,4,35,5],[35,6,35,7],[36,2,36,3],[36,4,36,5],[36,6,36,7],[37,2,37,3],[37,4,37,5],[37,6,37,7],[38,2,38,3],[38,4,38,5],[38,6,38,7],[39,2,39,3],[39,4,39,5],[39,6,39,7],[40,2,40,3],[40,4,40,5],[40,6,40,7],[41,0,41,7],[43,3,43,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":4},"标段：",null,"第1页 共1页"]
["序号","项目编码","项目名称",null,"计算基数",null,"费率（%）",null,"金额（元）"]
["1","AF-01","环境保护费",{"$nulls":3},"0.900"]
["2","AF-02","文明施工费",{"$nulls":3},"2.800"]
["3","AF-03","安全施工费",{"$nulls":3},"2.400"]
["4","AF-04","临时设施费",{"$nulls":3},"4.600"]
["5","AF-05","工程排污费",{"$nulls":3},""]
{"$rows_empty":33}
["合   计",{"$nulls":7},""]
[]
[{"$nulls":3},"测评合格编号:2018JS-03【新点造价软件V10.0安徽版】"]

{"sheet":"3.4 Qtxm_17ah_zb-H.1 其他项目清单与计价汇","index":5,"n_rows":44,"n_cols":6,"rows_kept":44,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,1,40,3],[40,4,40,5],[41,0,41,3],[41,4,41,5],[43,2,43,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":34}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2018JS-03【新点造价软件V10.0安徽版】"]

{"sheet":"3.5 Sj_17ah_zb-附录I 税金计价表","index":6,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,2,2,4],[2,5,2,6],[3,2,3,4],[3,5,3,6],[4,2,4,4],[4,5,4,6],[5,2,5,4],[5,5,5,6],[6,2,6,4],[6,5,6,6],[7,2,7,4],[7,5,7,6],[8,2,8,4],[8,5,8,6],[9,2,9,4],[9,5,9,6],[10,2,10,4],[10,5,10,6],[11,2,11,4],[11,5,11,6],[12,2,12,4],[12,5,12,6],[13,2,13,4],[13,5,13,6],[14,2,14,4],[14,5,14,6],[15,2,15,4],[15,5,15,6],[16,2,16,4],[16,5,16,6],[17,2,17,4],[17,5,17,6],[18,2,18,4],[18,5,18,6],[19,2,19,4],[19,5,19,6],[20,2,20,4],[20,5,20,6],[21,2,21,4],[21,5,21,6],[22,2,22,4],[22,5,22,6],[23,2,23,4],[23,5,23,6],[24,2,24,4],[24,5,24,6],[25,2,25,4],[25,5,25,6],[26,2,26,4],[26,5,26,6],[27,2,27,4],[27,5,27,6],[28,2,28,4],[28,5,28,6],[29,2,29,4],[29,5,29,6],[30,2,30,4],[30,5,30,6],[31,2,31,4],[31,5,31,6],[32,2,32,4],[32,5,32,6],[33,2,33,4],[33,5,33,6],[34,2,34,4],[34,5,34,6],[35,2,35,4],[35,5,35,6],[36,2,36,4],[36,5,36,6],[37,2,37,4],[37,5,37,6],[38,2,38,4],[38,5,38,6],[39,2,39,4],[39,5,39,6],[40,0,40,7],[42,3,42,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：阜阳市第一高级职业中学学生宿舍楼空调安装专线工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称","计算基础",null,null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税","分部分项工程费+措施项目费+不可竞争费+其他项目费",{"$nulls":4},"9.000"]
{"$rows_empty":36}
["合  计",{"$nulls":7},""]
[]
[{"$nulls":3},"测评合格编号:2018JS-03【新点造价软件V10.0安徽版】"]